## Sheet1
Management and Maintenance Schedule | Action | Frequency
Gerrard Court, High Wycombe
Automatic Opening Vent | Testing of | Monthly
Emergency Light Testing | Testing of | Monthly
Signage | No Smoking, Fire Escapes, Not to use lift in case of fire, Fire alarm weekly testing- all in situ | Monthly
Fire Doors | Checking intumescent strips and automatic closers and hinges | Quarterly on property visits
Fire Alarm, Emergency Lighting and AOV | Servicing and testing to communal areas and battery draindown | 6 monthly
Fire Doors | Completing relevant check list on fire safety on all communal doors and apartment doors | Annually
Smoke, Heat and CO Detectors | Testing of | Annually
Health and Safety Checks |  | Annually
Fire Risks Information and Fire Safety Measures | A4 information sheet provided to each resident | Upon occupation and Annually
Fire Risk Reassessments | Provided there have not been any significant changes | Every 2 years
Fire Risk Assessments | New assessment carried out by independent contractor | Every 4 years
EICR |  | Every 5 years
Sprinkler System | Servicing | N/A
Fire Damper/Suppression | Servicing | N/A
Water Pressurisation System | Checking and Servicing of | N/A
Lifts | General inspections incluging emergency telephone call line checks | N/A
| Emergency telephone line checks | N/A
Fire Extinguishers | Checking of in communal area/riser cupboards/boiler cupboards | N/A
Fire Alarm Testing | Alternate floors | N/A
Fire Blankets | Checking integrity of | N/A
Legionella Risk Assessment |  | N/A
Electronic Gates and Doors | Checking of and servicing | N/A
Communal Gas Boiler | Safety check and servicing | N/A
Roof Harness | Inspections | N/A
CCTV System | Servicing | N/A